## Slide 1
A comparative evaluation of ADAGIO and VITEK Antimicrobial Susceptibility Testing Platforms
26th November, 2021
Justin Nyasinga, Njenga John, Mohammed Munshi & Gunturu Revathi
5th Annual Early-Career Health Researchers’ Symposium

## Slide 2: Antimicrobial resistance (AMR)
WHO-recognized threat to global health
~ 700,000 deaths annually
~ 100 Billion USD in additional costs
~ 10 million deaths annually by 2050

## Slide 3: Diagnostic microbiology
Reliable, rapid and cost-effective antimicrobial susceptibility testing (AST) >>
    Swift transition from ET to DT
    Saves money
    Saves time
    Diagnostic stewardship
    Antibiotic stewardship
Access to these services a challenge in LMICs

## Slide 4
  1st Generation AST methods - Manual
Kirby-Bauer
Microdilution
E-test strips
  2nd Generation AST methods - Semi-automated
ADAGIO platform
ADAGIO output
  3rd Generation AST methods - Automated
Microscan
VITEK
Phoenix

## Slide 5: Question
What is the performance of ADAGIO AST (semi-automated) in comparison to VITEK AST (automated)?

## Slide 6: Methods
N=202 (Urine, Blood, Stool, Wounds)
AST interpretation: CLSI 2019 guidelines, verified by a clinical pathologist

## Slide 7: Categorical agreements
Categorical agreement: When two methods corresponded in assigning a phenotype (Resistant, Intermediate, Susceptible)
Categorical disagreements:
Major discrepancy: When there was a Resistant/ Susceptible conflict
Minor discrepancy: When there was a Intermediate/Susceptible or Intermediate/Resistant conflict
A total of 1, 568 drugs (784 drug pair comparisons) were tested
Categorical agreements averaged 92%, ranged between 75% - 100%
None of the methods was used as the gold standard

## Slide 8: Inter-rater reliability
Kappa scores for inter-rator agreements: 0.503 (Moderate) - 1.000 (Perfect)
κ=Pr(a)−Pr(e)
1−Pr(e)
Cohen’s Kappa scores (inter-rator reliability) were computed as:

## Slide 9: Reagent and consumable cost comparisons
STEP | ADAGIO |  | VITEK | 
 | Unit cost (USD) | Total cost (USD) | Unit cost (USD) | Total cost (USD)
Culture and identification | The cost is the same for both methods |  |  | 
Vitek GP/GN cards | - | - | 7.5 | 7.5
Mueller Hinton agar | 0.5 | 1 | - | -
90 mm Petri plates | 0.06 | 0.12 | - | -
AST discs * | 0.15 | 1.80 | - | -
Total cost per isolate | 2.92 |  | 7.5 | 
There was a 61% reduction in costs for ADAGIO compared to VITEK

## Slide 10
Conclusions and future outlook
High levels of categorical agreement between ADAGIO and VITEK
Significant reduction in reagent and consumable costs per isolate in ADAGIO
Better technologies for AST will come
What is more relevant in the LMIC setting?

## Slide 11
VITEK-MS
Kirby-Bauer

## Slide 12
Thank you